{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["Auslegungstool","Feuil2"],"not_rendered":{"charts":0,"images":5,"macros":1,"external_links":0,"defined_names":22,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Auslegungstool","index":0,"n_rows":93,"n_cols":37,"rows_kept":93,"cut":false,"hidden":false,"merged":[[34,13,34,33],[26,1,26,2],[24,1,24,2],[80,0,85,0],[30,1,30,2],[31,1,31,2],[28,1,28,2],[27,1,27,2],[36,0,77,0],[57,11,77,11],[37,11,56,11],[35,13,35,33],[35,4,35,7],[35,9,35,10]]}
[null,"Naam van het Project:"]
[null,"Klant:"]
[null,"Datum:"]
[]
["1. Ingave van module afmetingen "]
[]
[null,"Hoogte :",null,null,{"$f":"$AJ$36&\" :\"","v":"Junctionbox :"},"Enkel"]
[null,"Breedte :",null,null,{"$f":"$AK$36&\" :\"","v":"Verstevigingsrail :"},"neen"]
[null,"Dikte :"]
["2. Bepaling van de referenties van de platen, eindklemmen en middenklemmen"]
[]
[null,null,{"$f":"AJ41","v":"Portrait"},{"$f":"AJ42","v":"Landscape"}]
[null,"Ref. Plaat","Keuze van de plaat","Keuze van de plaat"]
[null,"Klemmen",{"$f":"INDEX(rech_etrier,MATCH($C$13,Ref_plaques,0),MATCH($C$9,Epaisseur_module__mm,0))","v":{"$error":"#N/A"}},{"$f":"INDEX(rech_etrier,MATCH($D$13,Ref_plaques,0),MATCH($C$9,Epaisseur_module__mm,0))","v":{"$error":"#N/A"}}]
[null,"Hoogte ref (mm)",{"$f":"VLOOKUP($C$13,base_po,7,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP($D$13,base_pa,7,0)","v":{"$error":"#N/A"}}]
[null,"Breedte ref (mm)",{"$f":"VLOOKUP($C$13,base_po,8,0)","v":{"$error":"#N/A"}},{"$f":"VLOOKUP($D$13,base_pa,8,0)","v":{"$error":"#N/A"}}]
[null,"Pasvorm (mm)",{"$f":"IF((C7-C15)>0,MROUND(C7-C15,5),0)","v":{"$error":"#N/A"}},{"$f":"IF((C8-D15)>0,MROUND(C8-D15,5),0)","v":{"$error":"#N/A"}}]
[null,"Tussenruimte  (mm)",{"$f":"10-(C7-MROUND(C15,5)-C17)","v":{"$error":"#N/A"}},{"$f":"10-(C8-MROUND(D15,5)-D17)","v":{"$error":"#N/A"}}]
[]
["3. Bepaling van de veldgrootte"]
[]
[null,"Configuratie","Lijnen","Kolommen"]
[null,"Portrait"]
[]
[null,"Veldgrootte"]
[null,null,null,"Hoogte (m)"]
[null,"Alleen platen (A+B)",null,{"$f":"((MROUND(HLOOKUP($B$23,données_plaques,4,0),5)+HLOOKUP($B$23,données_plaques,6,0)+10)*$C$23+(160-HLOOKUP($B$23,données_plaques,6,0)))/1000","v":{"$error":"#N/A"}}]
[null,"Gootaansluiting  (A+B+C+D)",null,{"$f":"D27+0.15+0.05","v":{"$error":"#N/A"}}]
[null,"Beneden dakverbinding (A+B+C+D+E)",null,{"$f":"D28+0.1","v":{"$error":"#N/A"}}]
[null,null,null,"Lengte (m)"]
[null,"Alleen platen (≈F)",null,{"$f":"((HLOOKUP($B$23,données_plaques,5,0)+36.5)*$D$23+30)/1000","v":{"$error":"#N/A"}}]
[null,"Gootstukken zijkant (F+2G)",null,{"$f":"((HLOOKUP($B$23,données_plaques,5,0)+36.5)*$D$23+165*2)/1000","v":{"$error":"#N/A"}}]
[]
[]
[null,null,null,null,-50,100,-5,0,null,null,null,null,null,"Etriers"]
[null,null,null,"Référence","Tolérances dimensionnelles",null,null,null,null,"Dimensions de référence de la plaque GSE",null,null,null,"Epaisseur module (mm)",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Junctionbox","Verstevigingsrail"]
["Base Plaque",null,null,"PLAQUE","HAUTEUR MINIMUM","HAUTEUR MAXIMUM","LARGEUR MINIMUM","LARGEUR MAXIMUM",null,"Hauteur ref","Larg ref",null,null,30,31,32,33,34,35,36,37,38,39,40,41,42,43,44,45,46,47,48,49,50,null,"Enkel","ja"]
[null,{"$f":"\"OK\"&IF(C38=\"faux\",0,COUNTIF($C$38:C38,C38))","v":"OK0"},{"$f":"IF($F$7=$AJ$38,\"FAUX\",IF(AND($C$7>=E38,$C$7<=F38,$C$8>=G38,$C$8<=H38,$C$9>=35),\"OK\",\"FAUX\"))","v":"FAUX"},"1559 / 1046",{"$f":"$J38+E$35","v":1525},{"$f":"$J38+F$35","v":1675},{"$f":"$K38+G$35","v":1041},{"$f":"$K38+H$35","v":1046},null,1575,1046,"PORTRAIT",null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31",null,"Dubbele","neen"]
[null,{"$f":"\"OK\"&IF(C39=\"faux\",0,COUNTIF($C$38:C39,C39))","v":"OK0"},"FAUX","1575 / 1053",{"$f":"$J39+E$35","v":1525},{"$f":"$J39+F$35","v":1675},{"$f":"$K39+G$35","v":1048},{"$f":"$K39+H$35","v":1053},null,1575,1053,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C40=\"faux\",0,COUNTIF($C$38:C40,C40))","v":"OK0"},"FAUX","1575 / 1082",1525,1675,1077,{"$f":"$K40+H$35","v":1082},null,1575,1082,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C41=\"faux\",0,COUNTIF($C$38:C41,C41))","v":"OK0"},"FAUX","1580 / 808",1530,1680,803,808,null,1580,808,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31",null,"Portrait"]
[null,{"$f":"\"OK\"&IF(C42=\"faux\",0,COUNTIF($C$38:C42,C42))","v":"OK0"},"FAUX","1640 / 992",1590,1740,987,992,null,1640,992,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31",null,"Landscape"]
[null,{"$f":"\"OK\"&IF(C43=\"faux\",0,COUNTIF($C$38:C43,C43))","v":"OK0"},"FAUX","1640 / 1001",1590,1740,996,1001,null,1640,1001,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C44=\"faux\",0,COUNTIF($C$38:C44,C44))","v":"OK0"},{"$f":"IF($F$7=$AJ$38,\"FAUX\",IF(AND($C$7>=E44,$C$7<=F44,$C$8>=G44,$C$8<=H44,$C$9>=32),\"OK\",\"FAUX\"))","v":"FAUX"},"1640 / 1001 P33",1590,1740,996,1001,null,1640,1001,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C45=\"faux\",0,COUNTIF($C$38:C45,C45))","v":"OK0"},{"$f":"IF($F$7=$AJ$38,\"FAUX\",IF(AND($C$7>=E45,$C$7<=F45,$C$8>=G45,$C$8<=H45,$C$9>=35),\"OK\",\"FAUX\"))","v":"FAUX"},"1686 / 1016",1635,{"$f":"$J45+F$35-30","v":1755},1011,1016,null,1685,1016,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C46=\"faux\",0,COUNTIF($C$38:C46,C46))","v":"OK0"},{"$f":"IF(AND($C$7>=E46,$C$7<=F46,$C$8>=G46,$C$8<=H46,$C$9>=30),\"OK\",\"FAUX\")","v":"FAUX"},"1710_995",1660,{"$f":"$J46+F$35-30","v":1780},{"$f":"$K46+G$35","v":990},995,null,1710,995,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C47=\"faux\",0,COUNTIF($C$38:C47,C47))","v":"OK0"},{"$f":"IF(AND($C$7>=E47,$C$7<=F47,$C$8>=G47,$C$8<=H47,$C$9>=30),\"OK\",\"FAUX\")","v":"FAUX"},"1710_1000",1660,1780,{"$f":"$K47+G$35","v":995},1000,null,1710,1000,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C48=\"faux\",0,COUNTIF($C$38:C48,C48))","v":"OK0"},{"$f":"IF(AND($C$7>=E48,$C$7<=F48,$C$8>=G48,$C$8<=H48,$C$9>=30),\"OK\",\"FAUX\")","v":"FAUX"},"1710_1005",1660,1780,{"$f":"$K48+G$35","v":1000},1005,null,1710,1005,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C49=\"faux\",0,COUNTIF($C$38:C49,C49))","v":"OK0"},"FAUX","1710_1010",1660,1780,1005,1010,null,1710,1010,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C50=\"faux\",0,COUNTIF($C$38:C50,C50))","v":"OK0"},"FAUX","1710_1020",1660,1780,1015,1020,null,1710,1020,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C51=\"faux\",0,COUNTIF($C$38:C51,C51))","v":"OK0"},"FAUX","1710_1025",1660,1780,1020,1025,null,1710,1025,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C52=\"faux\",0,COUNTIF($C$38:C52,C52))","v":"OK0"},"FAUX","1710_1030",1660,1780,1025,1030,null,1710,1030,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C53=\"faux\",0,COUNTIF($C$38:C53,C53))","v":"OK0"},"FAUX","1710_1040",1660,1780,1035,1040,null,1710,1040,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C54=\"faux\",0,COUNTIF($C$38:C54,C54))","v":"OK0"},{"$f":"IF(AND($C$7>=E54,$C$7<=F54,$C$8>=G54,$C$8<=H54,$C$9>=30),\"OK\",\"FAUX\")","v":"FAUX"},"1710_1045",1660,1780,1040,1045,null,1710,1045,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C55=\"faux\",0,COUNTIF($C$38:C55,C55))","v":"OK0"},"FAUX","1710_1050",1660,1780,1045,1050,null,1710,1050,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C56=\"faux\",0,COUNTIF($C$38:C56,C56))","v":"OK0"},{"$f":"IF(AND($C$7>=E56,$C$7<=F56,$C$8>=G56,$C$8<=H56,$C$9>=30),\"OK\",\"FAUX\")","v":"FAUX"},"1710_1055",1660,1780,1050,1055,null,1710,1055,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C57=\"faux\",0,COUNTIF($C$38:C57,C57))","v":"OK0"},null,"1710_1060",1660,1780,1055,1060,null,1710,1060,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C58=\"faux\",0,COUNTIF($C$58:C58,C58))","v":"OK0"},{"$f":"IF($F$8=$AK$37,\"FAUX\",IF($F$7=$AJ$38,\"FAUX\",IF(AND($C$8>=E58,$C$8<=F58,$C$7>=G58,$C$7<=H58,$C$9>=35),\"OK\",\"FAUX\")))","v":"FAUX"},"1559 / 1046",1032,1182,{"$f":"$K58+G$35","v":1554},1559,null,1082,1559,"PAYSAGE",null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C59=\"faux\",0,COUNTIF($C$58:C59,C59))","v":"OK0"},"FAUX","1575 / 1082",1032,1182,1570,1575,null,1082,1575,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C60=\"faux\",0,COUNTIF($C$58:C60,C60))","v":"OK0"},"FAUX","1580 / 808",758,908,1575,1580,null,808,1580,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C61=\"faux\",0,COUNTIF($C$58:C61,C61))","v":"OK0"},"FAUX","1640 / 992",942,1092,1635,1640,null,992,1640,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C62=\"faux\",0,COUNTIF($C$58:C62,C62))","v":"OK0"},"FAUX","1650 / 992 ",942,1092,1645,1650,null,992,1650,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C63=\"faux\",0,COUNTIF($C$58:C63,C63))","v":"OK0"},"FAUX","1660 / 992",942,1092,1655,1660,null,992,1660,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C64=\"faux\",0,COUNTIF($C$58:C64,C64))","v":"OK0"},"FAUX","1670 / 992",942,1092,1665,1670,null,992,1670,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C65=\"faux\",0,COUNTIF($C$58:C65,C65))","v":"OK0"},{"$f":"IF($F$8=$AK$37,\"FAUX\",IF($F$7=$AJ$38,\"FAUX\",IF(AND($C$8>=E65,$C$8<=F65,$C$7>=G65,$C$7<=H65,$C$9>=32),\"OK\",\"FAUX\")))","v":"FAUX"},"1675 / 992 P33",942,1092,1670,1675,null,992,1675,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C66=\"faux\",0,COUNTIF($C$58:C66,C66))","v":"OK0"},{"$f":"IF($F$8=$AK$37,\"FAUX\",IF($F$7=$AJ$38,\"FAUX\",IF(AND($C$8>=E66,$C$8<=F66,$C$7>=G66,$C$7<=H66,$C$9>=35),\"OK\",\"FAUX\")))","v":"FAUX"},"1680 / 992",942,1092,1675,1680,null,992,1680,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C67=\"faux\",0,COUNTIF($C$58:C67,C67))","v":"OK0"},{"$f":"IF($F$8=$AK$37,\"FAUX\",IF($F$7=$AJ$38,\"FAUX\",IF(AND($C$8>=E67,$C$8<=F67,$C$7>=G67,$C$7<=H67,$C$9>=35),\"OK\",\"FAUX\")))","v":"FAUX"},"1686 / 1016",942,1092,1681,1686,null,992,1686,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C68=\"faux\",0,COUNTIF($C$58:C68,C68))","v":"OK0"},{"$f":"IF($F$8=$AK$37,\"FAUX\",IF($F$7=$AJ$38,\"FAUX\",IF(AND($C$8>=E68,$C$8<=F68,$C$7>=G68,$C$7<=H68,$C$9>=35),\"OK\",\"FAUX\")))","v":"FAUX"},"1700 / 1016",942,1092,1695,1700,null,992,1700,null,null,null,null,null,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31"]
[null,{"$f":"\"OK\"&IF(C69=\"faux\",0,COUNTIF($C$58:C69,C69))","v":"OK0"},{"$f":"IF($F$8=$AK$37,\"FAUX\",IF(AND($C$8>=E69,$C$8<=F69,$C$7>=G69,$C$7<=H69,$C$9>=30),\"OK\",\"FAUX\"))","v":"FAUX"},"1665_1020",970,1120,1660,1665,null,1020,1665,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C70=\"faux\",0,COUNTIF($C$58:C70,C70))","v":"OK0"},"FAUX","1675_1020",970,1120,1670,1675,null,1020,1675,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C71=\"faux\",0,COUNTIF($C$58:C71,C71))","v":"OK0"},"FAUX","1680_1020",970,1120,1675,1680,null,1020,1680,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C72=\"faux\",0,COUNTIF($C$58:C72,C72))","v":"OK0"},"FAUX","1685_1020",970,1120,1680,1685,null,1020,1685,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C73=\"faux\",0,COUNTIF($C$58:C73,C73))","v":"OK0"},{"$f":"IF($F$8=$AK$37,\"FAUX\",IF(AND($C$8>=E73,$C$8<=F73,$C$7>=G73,$C$7<=H73,$C$9>=30),\"OK\",\"FAUX\"))","v":"FAUX"},"1690_1020",970,1120,1685,1690,null,1020,1690,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C74=\"faux\",0,COUNTIF($C$58:C74,C74))","v":"OK0"},"FAUX","1695_1020",970,1120,1690,1695,null,1020,1695,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C75=\"faux\",0,COUNTIF($C$58:C75,C75))","v":"OK0"},"FAUX","1700_1020",970,1120,1695,1700,null,1020,1700,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C76=\"faux\",0,COUNTIF($C$58:C76,C76))","v":"OK0"},"FAUX","1705_1020",970,1120,1700,1705,null,1020,1705,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C77=\"faux\",0,COUNTIF($C$58:C77,C77))","v":"OK0"},"FAUX","1720_1020",970,1120,1715,1720,null,1020,1720,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[null,{"$f":"\"OK\"&IF(C78=\"faux\",0,COUNTIF($C$58:C78,C78))","v":"OK0"},"FAUX","1740_1020",970,1120,1735,1740,null,1020,1740,null,null,"H16","H16","H16","H19","H19","H21","H21","H23","H23","H23","H26","H26","H27","H27",null,"H31","H31","H31"]
[]
[null,null,"Réf. Etriers","Epaisseur Min","Epaisseur Max"]
["Base étriers",{"$f":"IF(AND($C$9>=D81,$C$9<=E81),\"OK\",\"FAUX\")","v":"FAUX"},"H16",31,35]
[null,"FAUX","H19",37,38]
[null,"FAUX","H21",39,40]
[null,"FAUX","H23",41,42]
[null,"FAUX","H27",45,46]
[null,"FAUX","H31",49,50]
[]
[null,null,null,null,null,"Portrait","Paysage"]
[null,null,null,null,1,{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E89,rech_po_hc,3,0),VLOOKUP(\"OK\"&$E89,rech_po,3,0)),\"\")","v":""},{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E89,rech_pa_hc,3,0),VLOOKUP(\"OK\"&$E89,rech_pa,3,0)),\"\")","v":""}]
[null,null,null,null,2,{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E90,rech_po_hc,3,0),VLOOKUP(\"OK\"&$E90,rech_po,3,0)),\"\")","v":""},{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E90,rech_pa_hc,3,0),VLOOKUP(\"OK\"&$E90,rech_pa,3,0)),\"\")","v":""}]
[null,null,null,null,3,{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E91,rech_po_hc,3,0),VLOOKUP(\"OK\"&$E91,rech_po,3,0)),\"\")","v":""},{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E91,rech_pa_hc,3,0),VLOOKUP(\"OK\"&$E91,rech_pa,3,0)),\"\")","v":""}]
[null,null,null,null,4,{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E92,rech_po_hc,3,0),VLOOKUP(\"OK\"&$E92,rech_po,3,0)),\"\")","v":""},{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E92,rech_pa_hc,3,0),VLOOKUP(\"OK\"&$E92,rech_pa,3,0)),\"\")","v":""}]
[null,null,null,null,5,{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E93,rech_po_hc,3,0),VLOOKUP(\"OK\"&$E93,rech_po,3,0)),\"\")","v":""},{"$f":"IFERROR(IF($F$7=\"OUI\",VLOOKUP(\"OK\"&$E93,rech_pa_hc,3,0),VLOOKUP(\"OK\"&$E93,rech_pa,3,0)),\"\")","v":""}]

{"sheet":"Feuil2","index":1,"n_rows":2,"n_cols":2,"rows_kept":2,"cut":false,"hidden":true,"merged":[]}
["Hochkant","feuil2!C1"]
["Querformat","feuil2!C2"]